## Slide 1: Various combinations of on-premise and cloud solutions to high availability and disaster recovery

## Slide 2: Spectrum between High Availability and Disaster Recovery
It is not an all or nothing proposition
Different degrees of on-premise versus cloud solutions
Four Examples
  Backup and restore
  Pilot light
  Fully working low capacity standby
  Multi-site hot standby

## Slide 3
Minimal Cloud: Backup and restore
Run everything on premise
Back up data into S3 buckets in AWS

## Slide 4
Minimal Cloud: Backup and restore
When on-premise system goes down start restore
During restore
  Create AWS instances
  Restore data from S3 bucket

## Slide 5: Minimal Cloud: Backup and restore
Low usage of cloud solution
Low AWS cost
Slow at recovery
  Need to spin up instances and extract data from S3

## Slide 6
Pilot Light
Run everything on premise
Replicate onto a database server on AWS
Create the standby servers on AWS but do not have them actively running

## Slide 7: Pilot Light
Faster during recovery since database is active and contains most up-to-date data
More costly than backup and restore since
  Need to keep an active database
  Standby non-active servers (need to pay for storage cost on EBS)

## Slide 8
Fully-working Low Capacity Standby
Use route 53 to split workload between on-premise and AWS
Majority of workload on-premise (say 90%)
Putting 10% on AWS means we are constantly testing the AWS servers to make sure they are working correctly.

## Slide 9: Fully-working Low Capacity Standby
If on-premise system goes down we can quickly fail-over to the active standby system on AWS
  Just need to quickly increase number of servers on AWS
More costly than previous solutions in terms of cloud costs, however, it reacts much better during system failure

## Slide 10
Multi-Site Active-Active
Give 50% of the workload to AWS and 50% to on-premise system
AWS system gets tested very thoroughly and constantly
Best solution for handling failure
More cost on AWS